## UTILITIES
CHARLIE ROBERTS ROAD POWER EXTENSION
ELECTRICAL SERVICE TO SERVE BATES ALLEN PARK,
CITY OF KENDLETON E.T.J., FORT BEND COUNTY, TEXAS
BID NO. B26-022 ADDENDUM #1
BID FORM
Item No. | Item Description | Unit | Est. Quantity | Unit Price |  | Total Amount
BASE BID
1 | Mobilization and set-up necessary equipment, including insurance and bond costs, (Maximum 5% Amount Bid), complete and in place | LS | 1 | $ | 0 | $ | 0
2 | Restoration of asphalt and landscaping, complete and in place | LS | 1 | $ | 0 | $ | 0
3 | Provide and install sectionalizing cabinet(s) including, but not limited to, concrete foundation, grounding, and all ancillary devices as shown on construction drawings, complete in place as specified. | EA | 3 | $ | 0 | $ | 0
4 | Provide and install main switchgear, incoming service, utility metering, coordination with utility, and all other work not specified under other bid items, complete in place as specified. | LS | 1 | $ | 0 | $ | 0
5 | Provide and install 4” conduit with 3-#2 + #6 GND, 15 kV aluminum cable, complete as specified. | LF | 2352 | $ | 0 | $ | 0
6 | Provide and install 4” conduit with 2-#2 + #6 GND, 15 kV aluminum cable, complete as specified. | LF | 95 | $ | 0 | $ | 0
7 | Provide and install 300 kVA pad-mounted transformer, including concrete foundations and secondary conduit stub-outs, grounding, and all ancillary devices as shown on construction drawings, complete in place as specified. | LS | 1 | $ | 0 | $ | 0
8 | Provide and install 50 kVA pad-mounted transformer, including concrete foundations and secondary conduit stub-outs, grounding, and all ancillary devices as shown on construction drawings, complete in place as specified. | LS | 1 | $ | 0 | $ | 0
9 | Provide and install bollard, complete as specified. | EA | 5 | $ | 0 | $ | 0
10 | 4" PVC DR-14 restrained joint by trenchless method, complete and in place | LF | 200 | $ | 0 | $ | 0
11 | Solid sod with St. Augustine grass, provide watering until vegetation establishment in accordance with Fort Bend County criteria, complete and in place | SF | 1200 | $ | 0 | $ | 0
12 | Hydromulch seeding, provide watering until vegetation establishment in accordance with Fort Bend County criteria, complete and in place | AC | 1.5 | $ | 0 | $ | 0
13 | Sawcut Asphalt, complete and in place | LF | 1200 | $ | 0 | $ | 0
14 | Bore pit for drainage ditch crossing, complete and in place | EA | 4 | $ | 0 | $ | 0
15 | Allowance for electric utility charge to install new overhead service. Exact amount will be reimbursed to Contractor upon submittal of invoice from Utility Service Provider. | LS | 1 | $ | 5000 | $ | 5000
16 | Allowance for electrical coordination. | ALLOW | 1 | $ | 20000 | $ | 20000
| TOTAL AMOUNT OF BASE BID = |  |  | $ | 25000
TOTAL NO. OF CALENDAR DAYS TO COMPLETE PROJECT =
| (CONTRACTOR TO SPECIFY) *TOTAL MAY NOT EXCEED 180 DAYS |  |  | *Not to Exceed 180 Calendar Days